## Main Page
NQAC Dubai
Last update: 31 March 2020
| Inspection Type |  | TAT
|  | ZPRA - | 5 working days / 10 working days for Low Volume Chemistry Test
|  | ZPRB - | 15 working days (Project)
Please click on the box to access to the related information!
|  | Microbiology |  | Chemistry
|  | Master Inspection Plan Set Up Details |  | Master Inspection Plan Set Up Details
|  | Salmonella |  | Vitamins HPLC
|  | General Micro |  | Macronutrients
|  | Yeasts & Molds |  | Fatty Acids
|  | Air Test |  | Minerals
|  | Water Test |  | Total Nitrogen
Micronutrients
Remark:
Minimum sample size required for chemical analyses:
|  |  |  | Single test | 150g
|  |  |  | Full vitamin parameters | 500g
|  |  |  | Full nutritional parameters | 800g
Analytical Portfolio

## Salmonella
Last update: 31 March 2020
List of Method under Work Center QM002089 (Salmonella)
Click on the below tab to access to relevant master inspection plan set up details.
Inspection Characteristics | QCAMM Code Master Inspection Characteristics | QCAMM Code Method Number | UoM | QN/QL | Sampling Procedure | Method Reference | Analytical Method Description | Master Inspection Plan | Group Counter
Salmonella (QL) | 10414 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 1 X 10 g (QL) | 10414G01 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 1 X 25 g (QL) | 10414G02 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 1 X 50 g (QL) | 10414G03 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 1 X 100 g (QL) | 10414G04 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 1 X 200 g (QL) | 10414G05 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 8 X 200 g (QL) | 10414G21 | 1494 | - | QL | SM8-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella in environmental sample (QL) | 10414G12 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 10 X 25 g (QL) | 10414G13 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 5 X 25 g (QL) | 10414G15 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 5 X 100 g (QL) | 10414G17 | 1494 | - | QL | SM2-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 8 X 100 g (QL) | 10414G18 | 1494 | - | QL | SM3-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 8 X 25 g (QL) | 10414G20 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 4 X 25 g (QL) | 10414G22 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 60 X 25 g (QL) | 10414G31 | 1494 | - | QL | SM4-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella 15 X 25 g (QL) | 10414G62 | 1494 | - | QL | SM1-0 | LI-00.746-02 | Detection of Salmonella by transia plate | DBRL2089 | 1
Salmonella (QL) | 10414 | 941 | - | QL | SM1-0 | LI-00.713-5 | Detection of Salmonella | DBRL2089 | 1
Salmonella (QL) | 10414 |  | - | QL | SM1-0 | ISO 6579-1:2017 | Detection of Salmonella | DBRL2089 | 1
Salmonella (QL) | 10414 |  | - | QL | SM1-0 | FDA BAM 5 | Detection of Salmonella | DBRL2089 | 1
Salmonella (QL) | 10414 |  | - | QL | SM1-0 | CCFRA-3.1.2:2007 /CCFRA-3.1.5:2007 | Detection of Salmonella | DBRL2089 | 1
Salmonella
QM002089
General Micro
QM002088
Back to Main Page
Air Test
QM002088/91
Water Test
QM002088
Yeasts & Molds
QM002091

## General Micro
Last update: 31 March 2020
List of Method under Work Center QM002088 (General Microbiology)
Click on the below tab to access to relevant master inspection plan set up details.
Inspection Characteristics | QCAMM Code Master Inspection Characteristics | QCAMM Code Method Number | UoM | QN/QL | Sampling Procedure | Method Reference | Analytical Method Description | Master Inspection Plan | Group Counter
Aerobic Mesophilic Microorganisms | 10011 | 40517 | CFU/g | QN | SM1-0 | ISO-4833-1:2013 | Colony count at 30°C by pour plate tech | DBRL2088 | 1
Aerobic Mesophilic Micro.-Contaminating | 10011 | 1208 | CFU/g | QN | SM1-0 | LI-00.736-1 | Contaminating microorganisms | DBRL2088 | 1
Aerobic spores 10 min 80°C / 72h at 30°C (mesophilic) | 16779 | 1305 | CFU/g | QN | SM1-0 | LI-00.718-2 | Enumeration of spores | DBRL2088 | 1
Aerobic spores 10 min 80°C / 48h at 55°C (thermophilic) | 16781 | 1305 | CFU/g | QN | SM1-0 | LI-00.718-2 | Enumeration of spores | DBRL2088 | 1
Enterobacteriaceae (QL) | 12305 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 1 X 0.1 g (QL) | 12305G02 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 1 X 1 g (QL) | 12305G03 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 1 X 10 g (QL) | 12305G04 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 1 X 100 g (QL) | 12305G05 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 2 X 0.1 g (QL) | 12305G12 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 2 X 1 g (QL) | 12305G13 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 5 X 1 g (QL) | 12305G14 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 5 X 10 g (QL) | 12305G17 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae 10 X 10 g (QL) | 12305G18 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
EB environmental sample (QL) | 12305G20 | 40885 |  | QL | SM1-0 | ISO-21528-1:2017 | Detection & Enumeration of EB | DBRL2088 | 1
Enterobacteriaceae (QN) | 10185 | 40886 | CFU/g | QN | SM1-0 | ISO-21528-2:2017 | Enumeration of Enterobacteriaceae | DBRL2088 | 1
Enterobacteriaceae Presumptive (QN) | 12569 | 1578 | CFU/g | QN | SM1-0 | LI-00.758-01 | EB Enumeration - Petrifilm | DBRL2088 | 1
Coliforms (QL) | 12616 | 40324 |  | QL | SM1-0 | ISO-4831:2006 | Detection & enumeration of coliforms MPN | DBRL2088 | 1
Coliforms (QN) | 10137 | 40324 | MPN/g | QN | SM1-0 | ISO-4831:2006 | Detection & enumeration of coliforms MPN | DBRL2088 | 1
Coliforms (QN) | 10137 | 40338 | CFU/g | QN | SM1-0 | ISO-4832:2006 | Enumeration of coliforms | DBRL2088 | 1
E.coli presumptive (QL) | 12647 | 40337 |  | QL | SM1-0 | ISO-7251:2005 | Detec & enum. of presumptive E. Coli MPN | DBRL2088 | 1
E.coli presumptive (QN) | 12636 | 40337 | CFU/g | QN | SM1-0 | ISO-7251:2005 | Detec & enum. of presumptive E. Coli MPN | DBRL2088 | 1
Clostridium perfringens | 10131 | 40343 | CFU/g | QN | SM1-0 | ISO-7937:2004 | Enumeration of Clostridium perfringens | DBRL2088 | 1
B.cereus presumptive (QN) | 12610 | 40410 | CFU/g | QN | SM1-0 | ISO-7932:2004 | Enum. of presumptive Bacillus cereus | DBRL2088 | 1
Coagulase POS.Staphylococci(QL) | 12653 | 40189 |  | QL | SM1-0 | ISO-6888-3:2003 | Detection & enumeration of coag+ staphylococci BP MPN | DBRL2088 | 1
Coagulase POS.Staphylococci(QN) | 11603 | 40189 | MPN/g | QN | SM1-0 | ISO-6888-3:2003 | Detection & enumeration of coag+ staphylococci BP MPN | DBRL2088 | 1
Coagulase POS.Staphylococci(QN) | 11603 | 40267 | CFU/g | QN | SM1-0 | ISO-6888-1:1999/AMD.1/AMD.2 | Enumeration of coag+ staphylococci BP | DBRL2088 | 1
Lactobacillus reuteri (NCC 3025) | 10466 | 1579 | CFU/g | QN | SM1-0 | LI-00.794-02 | Enumeration of probiotic bacteria | DBRL2088 | 1
Lactobacillus rhamnosus / LPR (NCC4007) | 12218 | 1176 | CFU/g | QN | SM1-0 | LI-00.794-02 | Enumeration of probiotic bacteria | DBRL2088 | 1
Bifidobacterium animalis lactis (NCC2818) | 12220 | 1579 | CFU/g | QN | SM1-0 | LI-00.794-02 | Enumeration of probiotic bacteria | DBRL2088 | 1
Sulfite-reducing anaerobic bacteria Mesophilic | 12383 | 40344 | CFU/g | QN | SM1-0 | ISO-15213:2003 | Sulfite-reducing anaerobic bacteria | DBRL2088 | 1
Sulfite-reducing anaerobic bacteria Thermophilic | 16561 | 40344 | CFU/g | QN | SM1-0 | ISO-15213:2003 | Sulfite-reducing anaerobic bacteria | DBRL2088 | 1
Sulfite-reducing Clostridia | 15895 | 40344 | CFU/g | QN | SM1-0 | ISO-15213:2003 | Sulfite-reducing anaerobic bacteria | DBRL2088 | 1
E.coli O157:H7 (25g) | 10000 |  |  | QL | SM1-0 | AOAC OM 2000.14 | E.coli O157:H7 (25g) | DBRL2088 | 1
Listeria SPP 1 X 10 g (QL) | 12310G01 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 1 X 25 g (QL) | 12310G02 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 5 X 10 g (QL) | 12310G03 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 1 X 200 g (QL) | 12310G04 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 1 X 25 mL (QL) | 12310G05 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 30 X 25 g (QL) | 12310G08 | 1271 |  | QL | SM2-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 10 X 25 g (QL) | 12310G09 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 1 X 10 mL (QL) | 12310G10 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP in environmental sample(QL) | 12310G11 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 5 X 1 g (QL) | 12310G12 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 1 X 150 g (QL) | 12310G13 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 15 X 25 g (QL) | 12310G14 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 5 X 25 g (QL) | 12310G15 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria SPP 4 X 25 g (QL) | 12310G16 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 1 X 10 g (QL) | 12311G01 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 1 X 25 g (QL) | 12311G02 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 1 X 25 mL (QL) | 12311G05 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 5 X 10 g (QL) | 12311G09 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 1 X 10 mL (QL) | 12311G10 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria Mono environmental sample(QL) | 12311G11 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 5 X 1 g (QL) | 12311G12 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 5 X 25 g (QL) | 12311G13 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 10 X 25 g (QL) | 12311G14 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 1 X 100 g (QL) | 12311G15 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria monocytogenes 1 X 50 g (QL) | 12311G16 | 1271 |  | QL | SM1-0 | LI-00.755-1 | Detection of Listeria by Rapid' L.mono | DBRL2088 | 1
Listeria spp (QN) | 10289 | 40889 | CFU/g | QN | SM1-0 | ISO-11290-2:2017 | Enumeration Listeria spp/monocytogenes | DBRL2088 | 1
Listeria monocytogenes (QN) | 10787 | 1302 | CFU/g | QN | SM1-0 | LI-00.770 | Enumeration of L.mono by Rapid' L.mono | DBRL2088 | 1
Campylobacter spp. (QL) | 17054 |  |  | QL | SM1-0 | ISO 10272-1:2017 | Deetection of Campylobacter | DBRL2088 | 1
Campylobacter spp. (QL) | 17054 |  |  | QL | SM1-0 | CCFRA-3.3.1:2007 | Deetection of Campylobacter | DBRL2088 | 1
Vibrio spp. (QL) |  |  |  | QL | SM1-0 | ISO-21872-1:2017 | Detection of Vibrio | DBRL2088 | 1
Vibrio parahaemolyticus (QL) | 10584 |  |  | QL | SM1-0 | ISO-21872-1:2017 | Detection of Vibrio | DBRL2088 | 1
Cronobacter spp. (QL) | 10796 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 1 X 10 g (QL) | 10796G01 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 1 X 100 g (QL) | 10796G02 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 1 X 300 g (QL) | 10796G03 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 10 X 10 g (QL) | 10796G04 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 30 X 10 g (QL) | 10796G05 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 1 X 50 g (QL) | 10796G06 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp environmental sample(QL) | 10796G20 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 1 X 150 g (QL) | 10796G21 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 15 X 10 g (QL) | 10796G22 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Cronobacter spp. 3 X 100 g (QL) | 10796G23 | 40887 |  | QL | SM1-0 | ISO-22964:2017 | Detection of Cronobacter | DBRL2088 | 1
Salmonella
QM002089
Back to Main Page
Air Test
QM002088/91
Water Test
QM002088
General Micro
QM002088
Yeasts & Molds
QM002091

## Yeasts & Molds
Last update: 31 March 2020
List of Method under Work Center QM002091 (Yeasts & Molds)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code Master Inspection Characteristics | QCAMM Code Method Number | UoM | QN/QL | Sampling Procedure | Method Reference | Analytical Method Description | Master Inspection Plan | Group Counter
Yeasts and Moulds, Aw >0.95 | 80222 | 40272 | CFU/g | QN | SM1-0 | ISO-21527-1:2008 | Enumeration of Yeasts & Moulds | DBRL2091 | 1
Yeasts, Aw >0.95 | 10549 | 40272 | CFU/g | QN | SM1-0 | ISO-21527-1:2008 | Enumeration of Yeasts & Moulds | DBRL2091 | 1
Moulds, Aw >0.95 | 10329 | 40272 | CFU/g | QN | SM1-0 | ISO-21527-1:2008 | Enumeration of Yeasts & Moulds | DBRL2091 | 1
Yeasts and Moulds, Aw ≤0.95 | 16101 | 40273 | CFU/g | QN | SM1-0 | ISO-21527-2:2008 | Enumeration of Yeasts & Moulds | DBRL2091 | 1
Yeasts, Aw ≤0.95 | 16099 | 40273 | CFU/g | QN | SM1-0 | ISO-21527-2:2008 | Enumeration of Yeasts & Moulds | DBRL2091 | 1
Moulds, Aw ≤0.95 | 16100 | 40273 | CFU/g | QN | SM1-0 | ISO-21527-2:2008 | Enumeration of Yeasts & Moulds | DBRL2091 | 1
Salmonella
QM002089
Back to Main Page
Air Test
QM002088/91
Water Test
QM002088
General Micro
QM002088
Yeasts & Molds
QM002091

## Air Test
Last update: 31 March 2020
List of Method under Work Center QM002088/91 (Air Test)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code Master Inspection Characteristics | QCAMM Code Method Number | UoM | QN/QL | Sampling Procedure | Method Reference | Analytical Method Description | Master Inspection Plan | Group Counter
Aerobic mesophilic microorganisms | 10011 | 40517 | CFU15M | QN | SM1-0 | ISO-4833-1:2013 | Colony count at 30°C by pour plate tech | DBRL2088 | 1
Enumeration of Yeasts & Moulds | 80222 | 40272 | CFU15M | QN | SM1-0 | ISO-21527-1:2008 | Enumeration of Yeasts & Moulds | DBRL2091 | 1
Salmonella
QM002089
Back to Main Page
Air Test
QM002088/91
General Micro
QM002088
Water Test
QM002088
Yeasts & Molds
QM002091

## Water Test
Last update: 31 March 2020
List of Method under Work Center QM002088 (Water Test)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code Master Inspection Characteristics | QCAMM Code Method Number | UoM | QN/QL | Sampling Procedure | Method Reference | Analytical Method Description | Master Inspection Plan | Group Counter
Micro-organisms, Culturable at 22˚C | 40521 | 10798 | CFU/ml | QN | SM1-0 | ISO-6222:1999 (22°C ) | Total count in waters at 22°C | DBRL2088 | 1
Micro-organisms, Culturable at 36˚C | 40522 | 10798 | CFU/ml | QN | SM1-0 | ISO-6222:1999 (36°C) | Total count in waters at 36°C | DBRL2088 | 1
Heterotrophic Plate Count | 12051 |  | CFU/ml | QN | SM1-0 | APHA 9215 B | Heterotrophic Plate Count | DBRL2088 | 1
Total Coliforms in water | 10137 | 40620 | CFU/100ml | QN | SM1-0 | ISO-9308-1:2014/AMD1:2016 | Enum of E. Coli & Coliform by filtration | DBRL2088 | 1
E. coli in water | 10188 | 40620 | CFU/100ml | QN | SM1-0 | ISO-9308-1:2014/AMD1:2016 | Enum of E. Coli & Coliform by filtration | DBRL2088 | 1
Faecal Coliforms in water | 80221 |  | CFU/100ml | QN | SM1-0 | APHA 9211 B | Faecal Coliforms in water | DBRL2088 | 1
Pseudomonas aeruginosa in water | 80430 | 40399 | CFU/100ml | QN | SM1-0 | ISO-16266:2006 | Det.& Enu.Pseudomonas Aeruginosa / water | DBRL2088 | 1
Enterococci in water | 10797 | 40423 | CFU/100ml | QN | SM1-0 | ISO-7899-2:2000 | Enterococci in water | DBRL2088 | 1
Sulfite-reducing anaerobic spores in water | 10044 | 10005 | CFU/100ml | QN | SM1-0 | LI-10.114-2 | Sulfite-reducing anaerobic spores in water | DBRL2088 | 1
Legionella (Matrix A, B, C) | 11987 | 40901 | CFU/1000ml | QN | SM1-0 | ISO-11731:2017 | Legionella (Matrix A, B, C) | DBRL2088 | 1
Salmonella
QM002089
Back to Main Page
Air Test
QM002088/91
Water Test
QM002088
General Micro
QM002088
Yeasts & Molds
QM002091

## Minerals
Last update: 10th March 2020
List of Method under Work Center QM0020G0 (Minerals)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code QC | QCAMM Code AM | UoM | QT/QL | Sampling Procedure | Method Reference | Analytical Method Description | Number of Decimals | Master Inspectipn Plan | Group Counter
ZINC | 10551 | 40616 | mg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 2 | DBRL20G0 | 1
PHOSPHORUS | 10360 | 40616 | mg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 0 | DBRL20G0 | 1
MANGANESE | 10302 | 40616 | µg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 1 | DBRL20G0 | 1
IRON | 10267 | 40616 | mg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 2 | DBRL20G0 | 1
MAGNESIUM | 10297 | 40616 | mg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 1 | DBRL20G0 | 1
COPPER | 10148 | 40616 | mg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 2 | DBRL20G0 | 1
CALCIUM | 10091 | 40616 | mg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 0 | DBRL20G0 | 1
SODIUM | 10434 | 40616 | mg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 0 | DBRL20G0 | 1
POTASSIUM | 10374 | 40616 | mg100g | QT | SM1SPC | AOAC-2011.14 | Nine Nutritional Minerals by ICP-OES | 0 | DBRL20G0 | 1
Back to Main Page
Macronutrient
QM0020G1
General Chemistry
QM0020G4
Vitamins
QM0020G2
Fatty Acids
QM0020G3
Minerals
QM0020G0
Water
QM0020G5
Total Nitrogen
QM0020G0

## Total Nitrogen
Last update: 10th March 2020
List of Method under Work Center QM0020G0 (Total Nitrogen)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code QC | QCAMM Code AM | UoM | QT/QL | Sampling Procedure | Method Reference | Analytical Method Description | Number of Decimals | Master Inspectipn Plan | Group Counter
NITROGEN, TOTAL | 10499 | 1204 | g/100g | QT | SM1SPC | LI-00.556-5 | Total nitrogen automated kjeldahl method | 2 | DBRL20G0 | 1
PROTEINS | 10062 | 1204 | g/100g | QT | SM1SPC | LI-00.556-5 | Total nitrogen automated kjeldahl method | 2 | DBRL20G0 | 1
Back to Main Page
Macronutrient
QM0020G1
General Chemistry
QM0020G4
Vitamins
QM0020G2
Fatty Acids
QM0020G3
Total Nitrogen
QM0020G0
Water
QM0020G5
Minerals
QM0020G0

## Macronutrients
Last update: 10th March 2020
List of Method under Work Center QM0020G1 (Macronutrients)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code QC | QCAMM Code AM | UoM | QT/QL | Sampling Procedure | Method Reference | Analytical Method Description | Number of Decimals | Master Inspectipn Plan | Group Counter
Fructose (Free) | 10218 | 1512 | g/100g | QT | SM1SPC | LI-00.544-04 | Common sugars by HPLC | 2 | DBRL20G1 | 1
Glucose, D (Free) | 10226 | 1512 | g/100g | QT | SM1SPC | LI-00.544-04 | Common sugars by HPLC | 2 | DBRL20G1 | 1
Sucrose (saccharose) (Free) | 10458 | 1512 | g/100g | QT | SM1SPC | LI-00.544-04 | Common sugars by HPLC | 2 | DBRL20G1 | 1
Lactose | 10278 | 1512 | g/100g | QT | SM1SPC | LI-00.544-04 | Common sugars by HPLC | 2 | DBRL20G1 | 1
Maltose | 10301 | 1512 | g/100g | QT | SM1SPC | LI-00.544-04 | Common sugars by HPLC | 2 | DBRL20G1 | 1
Maltotriose | 10541 | 1512 | g/100g | QT | SM1SPC | LI-00.544-04 | Common sugars by HPLC | 2 | DBRL20G1 | 1
Back to Main Page
Total Nitrogen
QM0020G1
General Chemistry
QM0020G4
Vitamins
QM0020G2
Fatty Acids
QM0020G3
Macronutrient
QM0020G1
Water
QM0020G5
Minerals
QM0020G0

## Vitamins
Last update: 10th March 2020
List of Method under Work Center QM0020G2 (Vitamins)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code QC | QCAMM Code AM | UoM | QT/QL | Sampling Procedure | Method Reference | Analytical Method Description | Number of Decimals | Master Inspection Plan | Group Counter
VITAMIN A (RETINOL EQUIVALENT) | 10519 | 1477 | IUA%g | QT | SM1SPC | LI-00.681-04 | Vitamin A & E by HPLC or UHPLC | 0 | DBRL20G2 | 1
VITAMIN D (CALCIFEROL) | 11983 | 276 | IUD%g | QT | SM1SPC | LI-00.680-1 | Determination of vitamin D3 by HPLC | 0 | DBRL20G2 | 1
VITAMIN E (ALPHA TOCOPHEROL EQUIVALENT) | 10531 | 1477 | IUE%g | QT | SM1SPC | LI-00.681-04 | Vitamin A & E by HPLC or UHPLC | 2 | DBRL20G2 | 1
VITAMIN K | 11984 | 1130 | µg100g | QT | SM1SPC | LI-00.682-4 | Vitamin K by HPLC | 1 | DBRL20G2 | 1
VITAMIN B12 (CYANOCOBALAMIN) | 10524 | 40907 | µg100g | QT | SM1SPC | AOAC-2014.02 | Vitamin B12 by HPLC-UV or UHPLC-UV | 2 | DBRL20G2 | 1
VITAMIN B1 BY HPLC-FLD OR UPLC-FLD | 10521 | 1368 | mg100g | QT | SM1SPC | LI-00.689-4 | Vitamin B1 by HPLC-FLD or UPLC-FLD | 2 | DBRL20G2 | 1
Vitamin B2 (riboflavin) | 10522 | 921 | mg100g | QT | SM1SPC | LI-00.688-2 | Vitamin B2 by HPLC-FLD or UPLC-FLD | 2 | DBRL20G2 | 1
Back to Main Page
Macronutrient
QM0020G1
General Chemistry
QM0020G4
Total Nitrogen
QM0020G0
Fatty Acids
QM0020G3
Vitamins
QM0020G2
Water
QM0020G5
Minerals
QM0020G0

## Fatty Acids
Last update: 10th March 2020
List of Method under Work Center QM0020G3 (Fatty Acids)
Inspection Characteristics | QCAMM Code QC | QCAMM Code AM | UoM | QT/QL | Sampling Procedure | Method Reference | Analytical Method Description | Number of Decimals | Master Inspectipn Plan | Group Counter
C4:0 BUTYRIC ACID | 10815 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C6:0 CAPROIC ACID | 10046 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C8:0 CAPRYLIC ACID | 10540 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C10:0 CAPRIC ACID | 10035 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C12:0 LAURIC ACID | 10279 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C14:0 MYRISTIC ACID | 10065 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C14:1 N-5 CIS MYRISTOLEIC ACID | 10095 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C15:0 PENTADECANOIC ACID | 11549 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C15:1 N-5 CIS PENTADECENOIC ACID | 11550 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C16:0 PALMITIC ACID | 10150 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C16:1 N-7 CIS PALMITOLEIC ACID | 10158 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C17:0 MARGARIC ACID | 10210 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C17:1 N-7 CIS HEPTADECENOIC ACID | 11547 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C18:0 STEARIC ACIDC | 10010 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C18:1 TOTAL TRANS FATTY ACIDS | 10273 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C18:1 N-9 CIS OLEIC ACID (+N-7 CIS) | 10246 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C18:2 TOTAL TRANS FATTY ACIDS | 10775 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C18:2 N-6 CIS LINOLEIC ACID | 10054 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C18:3 N-6 GAMMA-LINOLENIC ACID | 10464 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C18:3 TOTAL TRANS FATTY ACIDS | 10776 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C18:3 N-3 CIS ALPHA-LINOLENIC ACID | 10298 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C20:0 ARACHIDIC ACID | 10304 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C20:1 CIS (N-9) GONDOIC ACID | 10316 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C20:2 N-6 CIS EICOSADIENOIC ACID | 10328 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C20:3 N-6 CIS EICOSATRIENOIC ACID DHGLA | 11545 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C20:3 N-3 CIS EICOSATRIENOIC ACID | 11546 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C20:4 N-6 CIS ARACHIDONIC ACID (AA) | 10255 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C20:5 N-3 CIS EICOSAPENTANOIC ACID (EPA) | 10341 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C22:0 BEHENIC ACID | 10383 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C22:1 N-9 CIS ERUCIC ACID | 10425 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C22:2 N-6 CIS DOCOSADIENOIC ACID | 10439 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C22:6 N-3 CIS DOCOSAHEXAENOIC ACID (DHA) | 10477 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C24:0 LIGNOCERIC ACID | 10038 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C24:1 N-9 CIS NERVONIC ACID | 10510 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
FATTY ACIDS, OTHER (OFA) | 11551 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
FATTY ACIDS, TOTAL | 10204 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
FATTY ACIDS, TOTAL TRANS (TFA) | 80702 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
FATTY ACIDS, SATURATED (SAFA) | 80177 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
FATTY ACIDS, MONO UNSATURATED (MUFA) | 80136 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
FATTY ACIDS, POLY UNSATURATED (PUFA) | 80157 | 40816 | F100gP | QT | SM1SPC | ISO-16958:2015 | Fatty acids Dairy/Infant/Adult products | 3 | DBRL20G3 | 1
C4:0 BUTYRIC ACID | 10815 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C6:0 CAPROIC ACID | 10046 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C8:0 CAPRYLIC ACID | 10540 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C10:0 CAPRIC ACID | 10035 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C12:0 LAURIC ACID | 10279 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C14:0 MYRISTIC ACID | 10065 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C14:1 N-5 CIS MYRISTOLEIC ACID | 10095 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C15:0 PENTADECANOIC ACID | 11549 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C15:1 N-5 CIS PENTADECENOIC ACID | 11550 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C16:0 PALMITIC ACID | 10150 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C16:1 N-7 CIS PALMITOLEIC ACID | 10158 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C17:0 MARGARIC ACID | 10210 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C17:1 N-7 CIS HEPTADECENOIC ACID | 11547 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:0 STEARIC ACIDC | 10010 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:1 TOTAL TRANS FATTY ACIDS | 10273 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:1 N-9 CIS OLEIC ACID (+N-7 CIS) | 10246 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:2 TOTAL TRANS FATTY ACIDS | 10775 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:2 N-6 CIS LINOLEIC ACID | 10054 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:3 N-6 GAMMA-LINOLENIC ACID | 10464 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:3 TOTAL TRANS FATTY ACIDS | 10776 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:3 N-3 CIS ALPHA-LINOLENIC ACID | 10298 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C20:0 ARACHIDIC ACID | 10304 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C20:1 CIS (N-9) GONDOIC ACID | 10316 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C20:2 N-6 CIS EICOSADIENOIC ACID | 10328 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C20:3 N-6 CIS EICOSATRIENOIC ACID DHGLA | 11545 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C20:3 N-3 CIS EICOSATRIENOIC ACID | 11546 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C20:4 N-6 CIS ARACHIDONIC ACID (AA) | 10255 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C20:5 N-3 CIS EICOSAPENTANOIC ACID (EPA) | 10341 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C22:0 BEHENIC ACID | 10383 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C22:1 N-9 CIS ERUCIC ACID | 10425 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C22:2 N-6 CIS DOCOSADIENOIC ACID | 10439 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C22:6 N-3 CIS DOCOSAHEXAENOIC ACID (DHA) | 10477 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C24:0 LIGNOCERIC ACID | 10038 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C24:1 N-9 CIS NERVONIC ACID | 10510 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
FATTY ACIDS, OTHER (OFA) | 11551 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
FATTY ACIDS, TOTAL | 10204 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
FATTY ACIDS, TOTAL TRANS (TFA) | 80702 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
FATTY ACIDS, SATURATED (SAFA) | 80177 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
FATTY ACIDS, MONO UNSATURATED (MUFA) | 80136 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
FATTY ACIDS, POLY UNSATURATED (PUFA) | 80157 | 422 | F100gP | QT | SM1SPC | LI-00.511-2 | Fatty acid composition by capillary GLC | 3 | DBRL20G3 | 2
C18:2 N-6 CIS LINOLEIC ACID | 10054 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C4:0 BUTYRIC ACID | 10815 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C6:0 CAPROIC ACID | 10046 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C8:0 CAPRYLIC ACID | 10540 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C10:0 CAPRIC ACID | 10035 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C12:0 LAURIC ACID | 10279 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C14:0 MYRISTIC ACID | 10065 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C14:1 N-5 CIS MYRISTOLEIC ACID | 10095 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C15:0 PENTADECANOIC ACID | 11549 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C15:1 N-5 CIS PENTADECENOIC ACID | 11550 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C16:0 PALMITIC ACID | 10150 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C16:1 N-7 CIS PALMITOLEIC ACID | 10158 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C17:0 MARGARIC ACID | 10210 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C17:1 N-7 CIS HEPTADECENOIC ACID | 11547 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C18:0 STEARIC ACIDC | 10010 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C18:1 TOTAL TRANS FATTY ACIDS | 10273 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C18:1 N-9 CIS OLEIC ACID (+N-7 CIS) | 10246 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C18:2 TOTAL TRANS FATTY ACIDS | 10775 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C18:2 N-6 CIS LINOLEIC ACID | 10054 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C18:3 N-6 GAMMA-LINOLENIC ACID | 10464 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C18:3 TOTAL TRANS FATTY ACIDS | 10776 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C18:3 N-3 CIS ALPHA-LINOLENIC ACID | 10298 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C20:0 ARACHIDIC ACID | 10304 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C20:1 CIS (N-9) GONDOIC ACID | 10316 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C20:2 N-6 CIS EICOSADIENOIC ACID | 10328 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C20:3 N-6 CIS EICOSATRIENOIC ACID DHGLA | 11545 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C20:3 N-3 CIS EICOSATRIENOIC ACID | 11546 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C20:4 N-6 CIS ARACHIDONIC ACID (AA) | 10255 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C20:5 N-3 CIS EICOSAPENTANOIC ACID (EPA) | 10341 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C22:0 BEHENIC ACID | 10383 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C22:1 N-9 CIS ERUCIC ACID | 10425 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C22:2 N-6 CIS DOCOSADIENOIC ACID | 10439 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C22:6 N-3 CIS DOCOSAHEXAENOIC ACID (DHA) | 10477 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C24:0 LIGNOCERIC ACID | 10038 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
C24:1 N-9 CIS NERVONIC ACID | 10510 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
FATTY ACIDS, OTHER (OFA) | 11551 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
FATTY ACIDS, TOTAL | 10204 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
FATTY ACIDS, TOTAL TRANS (TFA) | 80702 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
FATTY ACIDS, SATURATED (SAFA) | 80177 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
FATTY ACIDS, MONO UNSATURATED (MUFA) | 80136 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
FATTY ACIDS, POLY UNSATURATED (PUFA) | 80157 | 731 | F100gP | QT | SM1SPC | LI-00.513 | Fatty Acids in Cereal and Meat Based Pro | 3 | DBRL20G3 | 3
Group Counter 2
Group Counter 4
Milk products >1.5%
Unit: gFA/100g Product
Oil & Fat samples, Culinary
Unit: gFA/100g Product
Cereal products, >1.5 Fat%
Unit: gFA/100g Product
Back to Main Page
Category 1
Category 2
Category 3
Check if sample matrix fall within category 1 to 3 and select the method accordingly.
Macronutrient
QM0020G1
General Chemistry
QM0020G4
Vitamins
QM0020G2
Total Nitrogen
QM0020G1
Fatty Acids
QM0020G3
Water
QM0020G5
Minerals
QM0020G0

## Water
Last update: 10th March 2020
List of Method under Work Center QM0020G5 (Water)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code QC | QCAMM Code AM | UoM | QT/QL | Sampling Procedure | Method Reference | Analytical Method Description | Number of Decimals | Master Inspectipn Plan | Group Counter
Hardness, water | 10237 | 40683 | mmol/L | QT | SM2-0 | ISO-6059:1984 | The sum of Ca and Mg - EDTA titrimetric | 2 | DBRL20G5 | 1
pH | 10355 | 40805 |  | QT | SM2-0 | ISO-10523:2008 | Determination of pH in water | 2 | DBRL20G5 | 1
Chlorine, free | 10116 | 40817 | mg/l | QT | SM2-0 | ISO-7393-2:1985 | Determination of free chlorine and total | 2 | DBRL20G5 | 1
Chlorine, total active | 10609 | 40817 | mg/l | QT | SM2-0 | ISO-7393-2:1985 | Determination of free chlorine and total | 2 | DBRL20G5 | 1
Bromate | 10078 | 1502 | µg/l | QT | SM2-0 | LI-10.217-03 | Bromate by colorimetry | 0 | DBRL20G5 | 1
Solids, total dissolved | 10498 | 40421 | mg/l | QT | SM2-0 | APHA-2540C | Total dissolved solids at 180 °C | 2 | DBRL20G5 | 1
Suspended solids, total | 10791 | DXB0002 | mg/l | QT | SM2-0 | APHA 2540 D | TSS Suspended solid | 0 | DBRL20G5 | 1
Chloride | 10113 | DXB0003 | mg/l | QT | SM2-0 | APHA 4500-CL D | Chloride | 1 | DBRL20G5 | 1
Nitrite | 10338 | DXB0004 | mg/l | QT | SM2-0 | APHA 4500-NO2- B | Nitrite Test | 2 | DBRL20G5 | 1
Ammonium | 10039 | DXB0005 | mg/l | QT | SM2-0 | APHA 4500-NO2- B | Ammonium Test | 2 | DBRL20G5 | 1
Fluoride (F) | 10212 | DXB0006 | mg/l | QT | SM2-0 | APHA 4500-F- D | Fluoride Test | 2 | DBRL20G5 | 1
Turbidity | 10792 | 40891 | NTU | QT | SM2-0 | ISO-7027-1:2016 | Determination of turbidity in water | 1 | DBRL20G5 | 1
Conductivity | 10144 | 40882 | µS/cm | QT | SM2-0 | ISO-7888:1985 | Determination of electrical conductivity | 0 | DBRL20G5 | 1
Chlorine Dioxide | DXB0007 | DXB0007 | mg/l | QT | SM2-0 | MERCK SPECTROQUANT® | Chlorine Dioxide | 2 | DBRL20G5 | 1
Silica | 10431 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Calcium (Ca) | 10091 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Magnesium (Mg) | 10297 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Sodium (Na) | 10434 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
POTASSIUM | 10374 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 2 | DBRL20G5 | 1
Aluminium (Al) | 10031 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Antimony (Sb) | 80023 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Barium (Ba) | 80025 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Beryllium | 80031 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Chromium (Cr) | 10125 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Cobalt (Co) | 80051 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Copper (Cu) | 10148 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Iron (Fe) | 10267 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Manganese (Mn) | 10302 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Nickel (Ni) | 10576 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Lead (Pb) | 10281 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Selenium (Se) | 10424 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 3 | DBRL20G5 | 1
Titanium | 16058 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 0 | DBRL20G5 | 1
Vanadium | 16061 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 0 | DBRL20G5 | 1
Zinc (Zn) | 10551 | DXB0008 | mg/l | QT | SM2-0 | U.S. EPA 200.7 ICP-OES | Determination of Metals and Trace Elemen | 0 | DBRL20G5 | 1
Back to Main Page
Macronutrient
QM0020G1
General Chemistry
QM0020G4
Vitamins
QM0020G2
Fatty Acids
QM0020G3
Minerals
QM0020G0
Water
QM0020G5
Total Nitrogen
QM0020G0

## General Chemistry
Last update: 10th March 2020
List of Method under Work Center QM0020G4 (General Chemistry)
Click on the below tab to link to relevant inspection plan set up in Globe
Inspection Characteristics | QCAMM Code QC | QCAMM Code AM | UoM | QT/QL | Sampling Procedure | Method Reference | Analytical Method Description | Number of Decimals | Master Inspectipn Plan | Group Counter
MOISTURE Vacuum Oven | 10324 | 1600 | % | QT | SM2-0 | LI-00.502-02 | Moisture & dry matter by vacuum oven | 2 | DBRL20G4 | 1
MOISTURE (OVEN) | 10324 | 1508 | % | QT | SM2-0 | LI-00.500-03 | Moisture in solid products by oven | 2 | DBRL20G4 | 1
Ash, Total | 10056 | 433 | g/100g | QT | SM2-0 | LI-00.565-4 | Ash determination | 2 | DBRL20G4 | 1
Ash, insoluble (HCl) | 10683 | 1188 | % | QT | SM2-0 | LI-33.306 | Ash insoluble in hydrochloric acid | 2 | DBRL20G4 | 1
Acidity in Dairy Products | 10006 | 1387 | ºSH | QT | SM2-0 | LI-00.011 | pH/Acidity Milk and other dairy products | 2 | DBRL20G4 | 1
Acidity in coffee & SUBSTITUTE | 10006 | 1591 | ºSH | QT | SM2-0 | LI-00.018-01 | pH/Acidity: coffee and substitutes | 2 | DBRL20G4 | 1
Vitamin C (ascorbic acid) | 10526 | 934 | mg100g | QT | SM2-0 | LI-00.677-2 | Ascorbic Acid by Potentiometry | 2 | DBRL20G4 | 1
Moisture by KF General | 10324 | 924 | g/100g | QT | SM2-0 | LI-00.510-2 | Moisture according Karl Fischer | 2 | DBRL20G4 | 1
Moisture by KF In Milk | 10324 | 1471 | g/100g | QT | SM2-0 | LI-08.055-2 | REPLACED BY LI-00.510-02(1621) Moisture | 2 | DBRL20G4 | 1
Solubility index | 10788 | 958 | ml | QT | SM2-0 | LI-08.040-1 | Solubility | 2 | DBRL20G4 | 1
Peroxide value | 10353 | 3134 | meqO2k | QT | SM2-0 | LI-03.512-2 | Fat - Peroxide value | 2 | DBRL20G4 | 1
Free Fatty Acids ( FFA as lauric) | 10205 | 40917 | g/100g | QT | SM2-0 | ISO-660:2009 | Acid value (AV) and/or free acidity (FFA | 2 | DBRL20G4 | 1
PH | 10355 | 387 |  | QT | SM2-0 | LI-33.109-1 | Determination of pH and acidity | 2 | DBRL20G4 | 1
Fat content Buchi | 10202 | 890 | g/100g | QT | SM2-0 | LI-00.528-3 | Fat by Weibull-Stoldt method with Büchi | 2 | DBRL20G4 | 1
Sieve test | 10430 | 965 |  | QL | SM2-0 | LI-08.044-1 | Sieve Test | 0 | DBRL20G4 | 1
DENSITY | 10537 | 801 | g/l | QT | SM2-0 | LI-00.126-3 | Free-flow and shaken down density of pow | 1 | DBRL20G4 | 1
WATER ACTIVITY | 10060 | 1499 |  | QT | SM2-0 | LI-00.016-02 | Aw using humidity-dependent sensor | 2 | DBRL20G4 | 1
Chloride | 10113 | 939 | g/100g | QT | SM2-0 | LI-00.580-3 | Chloride -Sodium chloride- POTENTIOMETRY | 2 | DBRL20G4 | 1
Sodium chloride | 10435 | 939 | g/100g | QT | SM2-0 | LI-00.580-3 | Chloride -Sodium chloride- POTENTIOMETRY | 0 | DBRL20G4 | 1
Total Energy | DXB0001 | DXB0001 | kc100g | QT | SM1-0 | ENERGY CALCULATION | Energy Calculation | 2 | DBRL20G4 | 1
Fat content, cold extraction | 10202 | 786 | g/100g | QT | SM1-0 | LI-51.043 | Folch Fat Extraction | 0 | DBRL20G4 | 1
Particule size distribution | 10161 | 1337 | µm | QT | SM2-0 | LI-00.160-3 | Granulometry by Sieving | 0 | DBRL20G4 | 1
REFRACTIVE INDEX | 10400 | 40775 |  | QT | SM1-0 | USP-831 | Refactive index | 3 | DBRL20G4 | 1
Carbohydrate total including fibre | 80040 | 1456 | g/100g | QT | SM1-0 | LI-00.008-01 | Total Carbohydrates by Calculation | 0 | DBRL20G4 | 1
Carbohydrates total excluding fibre | 80040G04 | 1456 | g/100g | QT | SM1-0 | LI-00.008-01 | Total Carbohydrates by Calculation | 0 | DBRL20G4 | 1
Back to Main Page
Macronutrient
QM0020G1
Vitamins
QM0020G2
Fatty Acids
QM0020G3
Total Nitrogen
QM0020G0
Minerals
QM0020G0
Water
QM0020G5
General Chemistry
QM0020G4

## LOQ
Subgroup | Characteristic | Matrix | Unit | LI | LOQ
Elementals | ZINC | #REF! | mg100g | AOAC-2011.14 | 0.5
Elementals | PHOSPHORUS |  | mg100g | AOAC-2011.14 | 10
Elementals | MANGANESE |  | µg100g | AOAC-2011.14 | 5
Elementals | IRON |  | mg100g | AOAC-2011.14 | 1
Elementals | MAGNESIUM |  | mg100g | AOAC-2011.14 | 5
Elementals | COPPER |  | mg100g | AOAC-2011.14 | 0.2
Elementals | CALCIUM |  | mg100g | AOAC-2011.14 | 15
Elementals | SODIUM |  | mg100g | AOAC-2011.14 | 10
Elementals | POTASSIUM |  | mg100g | AOAC-2011.14 | 20
Macronutrients | NITROGEN, TOTAL | #REF! | g/100g | #REF! | 0.1
Macronutrients | Fructose (Free) | #REF! | g/100g | LI-00.544-04 | 0.4
Macronutrients | Glucose, D (Free) |  | g/100g | LI-00.544-04 | 0.5
Macronutrients | Sucrose (saccharose) (Free) |  | g/100g | LI-00.544-04 | 0.5
Macronutrients | Lactose |  | g/100g | LI-00.544-04 | 0.5
Macronutrients | Maltose |  | g/100g | LI-00.544-04 | 0.5
Macronutrients | Maltotriose |  | g/100g | LI-00.544-04 | 0.9
Vitamins | VITAMIN A (RETINOL EQUIVALENT) | #REF! | IUA%g | LI-00.681-04 | 8 µgRE/100 g
Vitamins | VITAMIN D (CALCIFEROL) | #REF! | IUD%g | LI-00.680-1 | 1.51 µg/100g
Vitamins | VITAMIN E (ALPHA TOCOPHEROL EQUIVALENT) | #REF! | IUE%g | LI-00.681-04 | 1 mgTE/100 g
Vitamins | VITAMIN K | #REF! | µg100g | LI-00.682-4 | 12 µg/100g
Vitamins | VITAMIN B12 (CYANOCOBALAMIN) | #REF! | µg100g | AOAC-2014.02 | 0.4 µg/100g
Vitamins | VITAMIN B1 BY HPLC-FLD OR UPLC-FLD | #REF! | mg100g | LI-00.689-4 | 0.006mg/100g
Vitamins | Vitamin B2 (riboflavin) | #REF! | mg100g | LI-00.688-2 | 0.007 mg/100 g
Fatty Acids | C4:0 BUTYRIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C6:0 CAPROIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C8:0 CAPRYLIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C10:0 CAPRIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C12:0 LAURIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C14:0 MYRISTIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C14:1 N-5 CIS MYRISTOLEIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C15:0 PENTADECANOIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C15:1 N-5 CIS PENTADECENOIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C16:0 PALMITIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C16:1 N-7 CIS PALMITOLEIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C17:0 MARGARIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C17:1 N-7 CIS HEPTADECENOIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C18:0 STEARIC ACIDC | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C18:1 TOTAL TRANS FATTY ACIDS | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C18:1 N-9 CIS OLEIC ACID (+N-7 CIS) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C18:2 TOTAL TRANS FATTY ACIDS | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C18:2 N-6 CIS LINOLEIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C18:3 N-6 GAMMA-LINOLENIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C18:3 TOTAL TRANS FATTY ACIDS | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C18:3 N-3 CIS ALPHA-LINOLENIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C20:0 ARACHIDIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C20:1 CIS (N-9) GONDOIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C20:2 N-6 CIS EICOSADIENOIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C20:3 N-6 CIS EICOSATRIENOIC ACID DHGLA | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C20:3 N-3 CIS EICOSATRIENOIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C20:4 N-6 CIS ARACHIDONIC ACID (AA) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C20:5 N-3 CIS EICOSAPENTANOIC ACID (EPA) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C22:0 BEHENIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C22:1 N-9 CIS ERUCIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C22:2 N-6 CIS DOCOSADIENOIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C22:6 N-3 CIS DOCOSAHEXAENOIC ACID (DHA) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C24:0 LIGNOCERIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C24:1 N-9 CIS NERVONIC ACID | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | FATTY ACIDS, OTHER (OFA) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | FATTY ACIDS, TOTAL | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | FATTY ACIDS, TOTAL TRANS (TFA) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | FATTY ACIDS, SATURATED (SAFA) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | FATTY ACIDS, MONO UNSATURATED (MUFA) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | FATTY ACIDS, POLY UNSATURATED (PUFA) | 'Fatty acids Dairy/Infant/Adult products | F100gP | ISO-16958:2015 | 0.01
Fatty Acids | C4:0 BUTYRIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C6:0 CAPROIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C8:0 CAPRYLIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C10:0 CAPRIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C12:0 LAURIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C14:0 MYRISTIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C14:1 N-5 CIS MYRISTOLEIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C15:0 PENTADECANOIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C15:1 N-5 CIS PENTADECENOIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C16:0 PALMITIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C16:1 N-7 CIS PALMITOLEIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C17:0 MARGARIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C17:1 N-7 CIS HEPTADECENOIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:0 STEARIC ACIDC | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:1 TOTAL TRANS FATTY ACIDS | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:1 N-9 CIS OLEIC ACID (+N-7 CIS) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:2 TOTAL TRANS FATTY ACIDS | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:2 N-6 CIS LINOLEIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:3 N-6 GAMMA-LINOLENIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:3 TOTAL TRANS FATTY ACIDS | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:3 N-3 CIS ALPHA-LINOLENIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C20:0 ARACHIDIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C20:1 CIS (N-9) GONDOIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C20:2 N-6 CIS EICOSADIENOIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C20:3 N-6 CIS EICOSATRIENOIC ACID DHGLA | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C20:3 N-3 CIS EICOSATRIENOIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C20:4 N-6 CIS ARACHIDONIC ACID (AA) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C20:5 N-3 CIS EICOSAPENTANOIC ACID (EPA) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C22:0 BEHENIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C22:1 N-9 CIS ERUCIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C22:2 N-6 CIS DOCOSADIENOIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C22:6 N-3 CIS DOCOSAHEXAENOIC ACID (DHA) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C24:0 LIGNOCERIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C24:1 N-9 CIS NERVONIC ACID | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | FATTY ACIDS, OTHER (OFA) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | FATTY ACIDS, TOTAL | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | FATTY ACIDS, TOTAL TRANS (TFA) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | FATTY ACIDS, SATURATED (SAFA) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | FATTY ACIDS, MONO UNSATURATED (MUFA) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | FATTY ACIDS, POLY UNSATURATED (PUFA) | Oil, Culinary samples | F100gP | LI-00.511-2 | 0.01
Fatty Acids | C18:2 N-6 CIS LINOLEIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C4:0 BUTYRIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C6:0 CAPROIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C8:0 CAPRYLIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C10:0 CAPRIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C12:0 LAURIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C14:0 MYRISTIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C14:1 N-5 CIS MYRISTOLEIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C15:0 PENTADECANOIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C15:1 N-5 CIS PENTADECENOIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C16:0 PALMITIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C16:1 N-7 CIS PALMITOLEIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C17:0 MARGARIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C17:1 N-7 CIS HEPTADECENOIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C18:0 STEARIC ACIDC | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C18:1 TOTAL TRANS FATTY ACIDS | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C18:1 N-9 CIS OLEIC ACID (+N-7 CIS) | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C18:2 TOTAL TRANS FATTY ACIDS | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C18:2 N-6 CIS LINOLEIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C18:3 N-6 GAMMA-LINOLENIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C18:3 TOTAL TRANS FATTY ACIDS | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C18:3 N-3 CIS ALPHA-LINOLENIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C20:0 ARACHIDIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C20:1 CIS (N-9) GONDOIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C20:2 N-6 CIS EICOSADIENOIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C20:3 N-6 CIS EICOSATRIENOIC ACID DHGLA | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C20:3 N-3 CIS EICOSATRIENOIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C20:4 N-6 CIS ARACHIDONIC ACID (AA) | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C20:5 N-3 CIS EICOSAPENTANOIC ACID (EPA) | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C22:0 BEHENIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C22:1 N-9 CIS ERUCIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C22:2 N-6 CIS DOCOSADIENOIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C22:6 N-3 CIS DOCOSAHEXAENOIC ACID (DHA) | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C24:0 LIGNOCERIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | C24:1 N-9 CIS NERVONIC ACID | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | FATTY ACIDS, OTHER (OFA) | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | FATTY ACIDS, TOTAL | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | FATTY ACIDS, TOTAL TRANS (TFA) | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | FATTY ACIDS, SATURATED (SAFA) | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | FATTY ACIDS, MONO UNSATURATED (MUFA) | Cereal based products | F100gP | LI-00.513 | 0.01
Fatty Acids | FATTY ACIDS, POLY UNSATURATED (PUFA) | Cereal based products | F100gP | LI-00.513 | 0.01
Result Reporting in LOQ
Back to Main Page

## MU
Characteristic | Matrix | Unit | MU
ZINC | Infant Formula | mg100g | ± 4.41%
PHOSPHORUS |  | mg100g | ± 2.68%
MANGANESE |  | µg100g | ± 3.99%
IRON |  | mg100g | ± 2.88%
MAGNESIUM |  | mg100g | ± 3.89%
COPPER |  | mg100g | ± 5.15%
CALCIUM |  | mg100g | ± 3.12%
SODIUM |  | mg100g | ± 2.49%
POTASSIUM |  | mg100g | ± 2.12%
ZINC | Infant Cereals | mg100g | ± 19.01%
PHOSPHORUS |  | mg100g | ± 2.98%
MANGANESE |  | µg100g | ± 6.99%
IRON |  | mg100g | ± 9.32%
MAGNESIUM |  | mg100g | ± 2.37%
COPPER |  | mg100g | ± 15.87
CALCIUM |  | mg100g | ± 2.52%
SODIUM |  | mg100g | ± 3.54%
POTASSIUM |  | mg100g | ± 4.38%
NITROGEN, TOTAL | Infant Formula | g/100g | ± 2.77%
Fructose (Free) | Infant Cereals | g/100g | ± 6.38%
Glucose, D (Free) | Infant Cereals | g/100g | ± 4.26%
Sucrose (saccharose) (Free) | Chocolate | g/100g | ± 1.98%
Lactose | Infant Formula | g/100g | ± 3.01%
Maltose | Infant Cereals | g/100g | ± 4.92%
VITAMIN A (RETINOL EQUIVALENT) | Infant Formula | IUA%g | ± 10.93%
VITAMIN A (RETINOL EQUIVALENT) | Infant Cereals | IUA%g | ± 34.56%
VITAMIN D (CALCIFEROL) | Infant Formula | IUD%g | ± 11.46%
VITAMIN D (CALCIFEROL) | Infant Cereals | IUD%g | ± 29.92%
VITAMIN E (ALPHA TOCOPHEROL EQUIVALENT) | Infant Formula | IUE%g | ± 7.93%
VITAMIN E (ALPHA TOCOPHEROL EQUIVALENT) | Infant Cereals | IUE%g | ± 20.52%
VITAMIN K | Infant Formula | µg100g | ± 9.44%
VITAMIN B12 (CYANOCOBALAMIN) | Infant Formula | µg100g | ± 12.0
VITAMIN B1 BY HPLC-FLD OR UPLC-FLD | Infant Formula | mg100g | ± 9.681%
Measurment Uncertainity
Back to Main Page